Excel 10/E-Vision Systems

CXBS5002EV 
W7751B/D/F/H Controller Configuration
Class Type
Engineering

System

XL5000

Duration
3.0 Days 

Class Audience
Technicians installing/servicing down-line satellite Excel 10 W7751B/D/F/H Controllers connected to an XBS system and/or maintenance personnel responsible for the same

Offered At 
Customer site or St Paul

# Of Students
Minimum 5 Maximum 8  

Cost

$1259 per person at site, $915 per person St Paul

Pre-requisites
CXBS5000EV

Brief
The class starts with a Very Brief discussion of the system block diagram of an XBS System showing all central equipment such as work station PC’s, local and remote C-buses, the interface equipment for the satellite processors such as the Q7750A Excel 10 Zone Manager, System routers such as the Q7751A/B FTT to FTT and TPT to FTT routers, Q7740A/B Repeaters, User Interface and Configuration tool interfaces such as the Q7752A serial interface for the E-Vision PC, the User Interface Wall Modules such as T7770A-D and the DDWM T7780A and E- Bus FTT termination modules 209541B. All components of the system are discussed to a functional level. This part of the class is covered more thoroughly in CXBX5000.

The controllers are not programmed via a traditional programming language such as Microcel Pascal for Micro/Macrocel controllers. Instead the application program is prewritten by Honeywell engineers and the configurator simply configures this program via a battery of parameters.  Even the point file is configured parametrically. The parametric database resides in the controller EEPROM. This might appear as somewhat restrictive but in practice the parametric choices are quite elaborate and do allow an unusual flexibility. However, a default configuration is also available that will allow the controller to run and control the connected equipment without any parametric involvement. This approach leads to a much quicker application/engineering process once the engineer knows what choices to make to match his/her application. The process is quite akin to EMS programming in Excel Plus controllers.  One does not write an EMS program for the Excel Plus Controller. Instead one configures one by an intelligent choice of EMS parameters. The program is already written and is resident on the controller EPROM. 

Focus
The class covers thoroughly the various configuration options of the W7751B/D/F/H controllers.  Indeed this is the purpose of the class. The students also learn how to commission the controllers through E-Vision using different configuration options. Actual physical test and checkout of the various configuration options of the controllers is an integral part of the class.   

Written and oral exercises are used throughout the class to reinforce the learning process.

Objectives
Upon completion of the course the student will be able to:

· Identify functionally critical components of  a connected E-bus

· Understand the purpose and function of the E-bus

· Wire a W7751B/D/F/H controller for a specific application

· Understand the purpose and function of W7751B/D/F/H Controller 

Hardware/Firmware

· Configure the W W7751B/D/F/H Controllers using all available options  

· Perform Commissioning and Testing after each given set of configuration options
· Understand functionally the purpose of the W7751B/D/F/H Controller physical 

input and outputs and to be able to work with them

Topics



· XL5000 System Block Diagram including the Zone Manager and satellite processors

· W7751B/D/F/H Controller Functional Hardware/Firmware

· W7751B/D/F/H Controller Configuration Options

· Testing of the Configuration Options for W7751B/D/F/H Controllers

· W7751B/D/F/H Controller Test and checkout
